| SkuNo | Specifications | Unit of Measure | Material Costs |
| --- | --- | --- | --- |

| 332884 | Supply Labor And Material For Installation Of AquaSource 2-handle Bathroom Faucet (Drain Included)bathroom Faucet At New Addition Include Supply Flex Lines." widespread additional $65.00 lto install . Lowes | ea | $133.00 |
| --- | --- | --- | --- |
| 330-913 | Supply labor and material to install American Classics Solid Surface Tech 37 In. x 22 In. Saddle Vanity Top w/Eclipse Oval Bowl Model 2237HB-SA over new vanity Home Depot |  | $174.00 |
| Pre-fabricated | Supply Labor and material to install NGY or similar pre-fabricated medium grade 3/4" Granite countertop cut to size with bullnose edges over rough top with a 6" splash Allowance of $180 per 9 ft section .standard installation. Home Depot | sqft | $12.00 |
| g | Supply Labor And Material For The Installation Of A 36"X 36" Plate Glass Vanity Mirror With Mirror Adhesive At New Bathroom Wall . Home Depot | ea | $33.00 |
| 89236 | Supply labor and material to install a Moen Chrome 1-Handle Tub and Shower Faucet with Moentrol Pressure Balancing Valve at new bathroom addition includes shower head as specified Standard installation. Lowes | ea | $228.35 |
| 744-795 | Supply Labor And Material To Install A American Standard Cadet White elongated Bowl Bathroom Toilet At New Bathroom Addition With Flex Supply Line. Home Depot | ea | $209.00 |
| 316503 | Supply Labor And Material To Install allen + roth 3-Piece Raleigh Polished Chrome Bath Accessory Set Includes One Towel Ring, 18" Towel Bar, Toilet Paper Holder . Lowes | ea | $54.00 |
| 650-131 | Supply Labor And Material To Install A 36" American Classic Carmel maple Finish assembled Bathroom Vanity At New Bathroom Addition Home Depot | ea | $0.00 |
| 26507 | Supply Labor And Material To Install A Broan 50 Cfm 2.5 Sones Exhaust Fan with light At Bathroom With 7" Duct To Exterior Includes Switch. For Baths Up To 40 Sqft. Lowes | ea | $46.00 |
| 289793 | Supply labor and material to install Aqua source white vitreous china 19" x 20" x 7" high gloss undermount bathroom sink at bathroom Lowes | sink | $39.98 |
| 512-790 | Supply Labor And Material To Install Hampton Bay 4lt Bath Brushed Nickel Finish, 60W Medium Base, Frost Glass Model CBX1394-2/SC-1 at bathroom addition . Home Depot | ea | $159.00 |
|  | Supply Labor And Material To Install A 36" X 36" Lasco Shower Stall Fiberglass smooth wall And Buit In Soap Shelves One Piece Shower Unit At New Bathroom Addition. Home Depot | ea | $247.00 |
| 949-434 | Supply Labor And Material To Install A Sterling 36" Silver Frame Pebbled Glass Pivot Shower Door.Standard Home Depot | ea | $134.00 |
| 52604 - 315053 | Supply Labor And Material To Install A Aqua Glass 60"W x 32"D x 61.25"H High Gloss White Back Shower Wall Surround and Aqua Glass 60"L x 30"W White Tub right Or Left Hand tub Shower Unit At New Bathroom Addition With P-Trap And Drain As Required. Lowes | ea | $393.00 |
| 788-856 | Supply Labor And Material To Install A Sterling 59" Tub Enclosure With Satin Silver Frame, Swan Pattern Shower&Tub Bypass Door, Glass Sliding Doors With One Towel Bar. Home Depot | ea | $74.00 |
| 332884 | Supply Labor And Material For Installation Of AquaSource 2-handle Bathroom Faucet (Drain Included)bathroom Faucet At New Addition Include Supply Flex Lines." widespread additional $65.00 lto install . Lowes | ea | $133.00 |
| stock | Supply Labor And Material To Install Ceramic Tile Flooring Over A Smooth Floor Minor Prep For Standard Ceramic Floor Tile @ 4.00 Per Sqft For Tile. Diagonal patterns and liners additional $1.50 per sqft.Includes floor tile at ________________________ Standard Installation Custom ordered | sqft | $6.00 |
| stock | Supply Labor And Material To Float Ceramic Tile Floated In A Bed Of Mortar, Includes Standard Ceramic Tile @ $4.00 Per Sqft Laid In Straight Pattern. Diagonal Patterns Or Liners Additional $2.25 Per Sqft.Includes tile at _bath shower_ standard installation includes hot mop or vinyl shower pan . Custom ordered | sqft | $7.00 |
| ... | Supply Labor And Material To Frame A approx 12" Shadow Box In Wall, Float Ceramic Tile Floated In A Bed Of Mortar, Includes Standard Ceramic Tile . Custom ordered | Box | $100.00 |
| stock | Demolition Of Ceramic Tile Flooring Over Concrete And Dumping Of Debris Sqyd. *Bath Home Depot | sf | $0.00 |
| ... | Demolition Of Ceramic Tile Over Concrete Walls And Dumping Of Debris Sqft. Home Depot | sqft | $0.00 |
|  | Supply labor and material to install a 1/2 " vertical and 3/4" horizontal rigid type M copper hot and cold supply and 3" abs drain waste with 10 ft tie in within foundation perimeter. Home Depot | fixtures | $0.00 |
| 593-974 | Installation Of A Levitron Decorator Gfi 15a/125v Ivory Or White Gfi Receptacle Outlet . | ea | $15.00 |
| Pre-fabricated | Supply Labor and material to install NGY or similar pre-fabricated medium grade 3/4" Granite countertop cut to size with bullnose edges over rough top with a 6" splash Allowance of $180 per 9 ft section .standard installation. Home Depot | sqft | $12.00 |
|  | Supply Labor And Material To Install R-13 or R-15 as required Roxul wood unfaced batt insulation 15" X 3 1/2" Batt Insulation At Exterior Walls Of New Addition Includes Expanding Foam And Caulking As Required t-24 green building. Lowes | sqft | $0.73 |
| stock | Supply Labor And Material To Install Install Single Gang Box's,Square Or Round Boxes For Outlet,Switch Or Light Receptacles With 14/2 Type Nmb Romex Grounded Wiring At New Addition. Lowes | ea | $15.00 |
| 164-962 | Supply Labor And Material To Install A Delta Monitor Chrome Finish Single Acrylic Handle Pressure Balance Tub And Shower Mixer Valve At New Bathroom Addition Includes Shower Head As Specified.Standard installation. Home Depot | ea | $109.74 |
| 191-856 | Supply Labor And Material To Install A Glacier bay two piece Round Bowl White Bathroom Toilet At New Bathroom Addition Home Depot | ea | $89.00 |
| 960-556 | Supply Labor And Material To Install A 30 x 18 American Classics Kingston Oak 1 Door 2 drawer Bathroom vanity At New Bathroom Addition As Specified. Home Depot | ea | $170.00 |
| 15680 | Supply Labor And Material To Install A Broan 70 Cfm 2.5 Sones Exhaust Fan with light At Bathroom With 3" Duct To Exterior Includes Switch. Lowes | ea | $87.97 |
| 289793 | Supply labor and material to install Aqua source white vitreous china 19" x 20" x 7" high gloss undermount bathroom sink at bathroom Lowes | sink | $39.98 |
|  | Supply labor and material to add additional 120 volt circuit as required for new lighting and power as required at new construction. | circuit | $15.00 |
|  | Supply labor and material to install additional electrical circuit for new patio Home Depot | circuit | $0.00 |
| 948-403 | Supply Labor And Material To Hang And Tape 1/2" Dry Wall On All Specified Walls And Ceilings Of New Addition Includes Orange Peel Or Knockdown Texture. Smooth Wall Texture Additional Lowes | sqft | $0.55 |
| 436-627 | Supply Labor And Material To Install Hampton Bay 3 Light Bath, Brushed Nickel Finish, Etched Marble Glass w Blue or Etched Glass Accents Rings Model 05657 at bathroom Addition . Home Depot | ea | $44.67 |
| ... | Supply Labor And Material To Install Standard Grade 15a 125v 2 Pole 3 Wire Grounded White Or Ivory Duplex Receptacle At New Addition . | ea | $1.25 |
| ... | Supply Labor And Material To Prepare And Paint Interior Walls And Ceilings With One Coat Dunn Edwards or equal Primer And One Coat Of Flat Latex includes maximum 2 colors for project additional colors per room extra .Rooms to paint include __________________________Standard Home Depot | sqft | $0.06 |
| 199-877 | Install Standard Grade White Or Ivory 15a/120v Quiet One Way 20 Amp Switches And Switch Covers As Specified. | ea | $0.98 |